## Slide 1: Distributed Algorithm- ADMM
x
Local copy
z
Global copy
Notes: The distributed algorithm is based on the alternating direction method of multipliers.
suppose that the bus set supervised by area 1 is indicated by the red color, containing buses {0 ∼ 3, 18 ∼ 21, 22 ∼ 24}. However, when considering the interconnection with other areas, e.g., area 2, the bus set of area 1 must be extended to include the border of area 2, e.g., bus 4, so that the bus set of area 1 is extended
to ˆN 1 = {0 − 3, 18 − 21, 22 − 24, 4}.
For any bus j that is shared by two neighboring
areas, e.g., a and b, the local copies of state variables,
e.g., xa,j and xb,j should be all driven to the same value as
the global state variable sj.
For the system shown , we have x1,3 = s3, x2,3 = s3.

## Slide 2
18-bus three-phase network
1
2
3
4
3
4
5
Area-1
Area-2
1
2
3
4
5
Area-1
Area-2
Consensus variables between areas:
6
7
10
8
9
16
14
13
12
11
15
17
18
DG
. . .
Notes: So I started by solving on a sample 18-bus three-phase model. With linear branch flow model as the grid model, 3-phase model that considers mutual coupling.
The local boundary variables are the injection, voltage and branch flows as shown.

## Slide 3: Centralized vs Distributed Voltage Profile

## Slide 4: Voltage Convergence for Overlapping Area
3
4

## Slide 5: Power Flow Convergence for Overlapping Area
3
4

## Slide 6: Convergence of decision variable

## Slide 7
PV
Area-1
Area-2
IEEE-123 Node Feeder

## Slide 8: Voltage Profile Comparison
Voltage deviation minimization

## Slide 9: IEEE-123 Node Feeder
 | Centralized | ρ=1 | ρ=1 | ρ=1 | ρ=10 | ρ=30 | ρ=50
Psub (kW) | 716.511 | 632.009 | 694.536 | 721.276 | 721.500 | 711.249 | 711.173
Qsub (kVAr) | -133.188 | -113.713 | -121.253 | -133.373 | -133.477 | -128.737 | -128.701
Voltage deviation (pu) | 1.332 | 1.344 | 1.344 | 1.353 | 1.353 | 1.353 | 1.353
Iteration count | - | Max=1000 | Max=2000 | 3579 | 534 | 508 | 331
MAX_ITER = 5000
Voltage deviation minimization

## Slide 10
 | Centralized | ρ=1 | ρ=1 | ρ=1 | ρ=10 | ρ=30 | ρ=50
Psub (kW) | -119.743 |  |  |  |  |  | 
Qsub (kVAr) | 61.038 |  |  |  |  |  | 
Pdg curtailment (pu) | 759.543 |  |  |  |  |  | 
Iteration count | - |  |  |  |  |  | 
PV curtailment minimization

## Slide 11: Distributed Algorithm- ADMM
x
Local copy
z
Global copy
Notes: The distributed algorithm is based on the alternating direction method of multipliers.
suppose that the bus set supervised by area 1 is indicated by the red color, containing buses {0 ∼ 3, 18 ∼ 21, 22 ∼ 24}. However, when considering the interconnection with other areas, e.g., area 2, the bus set of area 1 must be extended to include the border of area 2, e.g., bus 4, so that the bus set of area 1 is extended
to ˆN 1 = {0 − 3, 18 − 21, 22 − 24, 4}.
For any bus j that is shared by two neighboring
areas, e.g., a and b, the local copies of state variables,
e.g., xa,j and xb,j should be all driven to the same value as
the global state variable sj.
For the system shown , we have x1,3 = s3, x2,3 = s3.

## Slide 12
2500-bus system

## Slide 13
LinDist3flow
Voltage deviation minimization

## Slide 14: Voltage Profile Comparison

## Slide 15: 2500-bus system
Area 1
Area 2
Area 4
Area 3